{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":28,"n_cols":5,"rows_kept":28,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","EKRTW"]
[]
[]
[]
[]
["","","","","EKRTWA"]
["Funkcija regulacije","","","","Proporcionalni pojas"]
["Dimenzije","Uređaj","Širina","mm","125"]
["","","Dubina","mm","34"]
["","","Visina","mm","87"]
["Raspon postavke temperature","Grijanje","Maks.","°C","37"]
["","","Min.","°C","4"]
["","Hlađenje","Maks.","°C","37"]
["","","Min.","°C","4"]
["Sat","","","","Da"]
["Težina","Jedinica","","g","215"]
["Temperatura okoline","Pohrana","Min.","°C","-20"]
["","","Maks.","°F","140"]
["","","Min.","°F","-4"]
["","","Maks.","°C","60"]
["","Rad","Min.","°C","0"]
["","","Maks.","°F","122"]
["","","Min.","°F","32"]
["","","Maks.","°C","50"]
["Maksimalna nazivna struja pokretanja (pri 230 VAC)","A","","","5.0 (1)"]
["Priključak","Tip","","","Žičani"]
["Power supply","Napon","","V","Baterijsko napajanje 3* AA-LR6 (alkalne)"]
["Napomene","","","","(1) - 230 VAC"]