{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":92,"n_cols":10,"rows_kept":92,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FTXA-AW"]
[]
[]
[]
[]
["","","","","","FTXA20A2V1BW","FTXA25A2V1BW","FTXA35A2V1BW","FTXA42A2V1BW","FTXA50A2V1BW"]
["Nivo zvučnog tlaka","Grijanje","","Visoko","dBA","39","40","41","","46"]
["","","","Srednji","dBA","32","33","33","","42"]
["","","","Tihi način rada","dBA","19","19","19","","24"]
["","","","Nizak","dBA","25","25","25","","33"]
["","Hlađenje","","Srednji","dBA","32","33","33","","39"]
["","","","Tihi način rada","dBA","19","19","19","","24"]
["","","","Nizak","dBA","25","25","25","","31"]
["","","","Visoko","dBA","39","40","41","","46"]
["Standardna dodatna oprema","Priručnik za instalaciju","","","","1","1","1","","1"]
["","Radni priručnik","","","","1","1","1","","1"]
["","Zračni filtar","","","","2","2","2","","2"]
["","Infracrveno daljinsko upravljanje","","","","1","1","1","","1"]
["","Montažna ploča daljinskog kontrolnika","","","","1","1","1","","1"]
["","Vreća s vijcima","","","","1","1","1","","1"]
["","Poklopac vijka","","","","1","1","1","","1"]
["","AAA suhe baterije","","","","2","2","2","","2"]
["","Opće mjere sigurnosti","","","","1","1","1","","1"]
["Radna tvar","GWP","","","","675.0","675.0","675.0","","675.0"]
["Upravljački sustavi","Žično daljinsko upravljanje","","","","BRC073","BRC073","BRC073","","BRC073"]
["","Infrared remote control","","","","ARC466A58","ARC466A58","ARC466A58","","ARC466A58"]
["Promjer cjevovoda","Tekućina","","VP","mm","6.35","6.35","6.35","","6.35"]
["","Plin","","VP","mm","9.50","9.50","9.50","","12.70"]
["","Odvod vode","","","","18","18","18","","18"]
["Power input","Hlađenje","","Nom.","kW","0.020","0.022","0.023","","0.030"]
["","Grijanje","","Nom.","kW","0.020","0.020","0.022","","0.039"]
["Sound power level","Hlađenje","","","dBA","57","57","60","","60"]
["Dimenzije","Uređaj","","Širina","mm","798","798","798","","798"]
["","","","Dubina","mm","189","189","189","","189"]
["","","","Visina","mm","295","295","295","","295"]
["Kućište","Boja","","","","Bijelo","Bijelo","Bijelo","","Bijelo"]
["Težina","Uređaj","","","kg","11.50","11.50","11.50","","11.50"]
["Ventilator","Količina zraka","Grijanje","Visoko","m³/min","10.9","11.1","11.5","","15.1"]
["","","","Srednji","m³/min","8.7","9.0","9.0","","11.1"]
["","","","Nizak","m³/min","6.4","6.4","6.4","","8.2"]
["","","","Tihi način rada","m³/min","4.5","4.5","4.5","","5.7"]
["","","Hlađenje","Nizak","m³/min","6.1","6.1","6.1","","7.6"]
["","","","Srednji","m³/min","8.2","8.6","8.6","","10.4"]
["","","","Visoko","m³/min","11.0","11.5","11.9","","13.5"]
["","","","Tihi način rada","m³/min","4.6","4.6","4.6","","5.2"]
["Power supply","Faza","","","","1~","1~","1~","","1~"]
["","Naziv","","","","V1","V1","V1","","V1"]
["","Frekvencija","","","Hz","50","50","50","","50"]
["","Napon","","","V","220-240","220-240","220-240","","220-240"]
["Ulazna struja","Hlađenje","","Nom.","kW","","","","0.028"]
["","Grijanje","","Nom.","kW","","","","0.036"]
["Kućište","Boja","","","","","","","Bijelo"]
["Dimenzije","Uređaj","","Visina","mm","","","","295"]
["","","","Širina","mm","","","","798"]
["","","","Dubina","mm","","","","189"]
["Težina","Uređaj","","","kg","","","","11.50"]
["Ventilator","Količina zraka","Hlađenje","Visoko","m³/min","","","","13.1"]
["","Protok zraka","Hlađenje","Srednji","m³/min","","","","9.8"]
["","","","Nizak","m³/min","","","","7.2"]
["","","","Tihi način rada","m³/min","","","","4.6"]
["","","Grijanje","Visoko","m³/min","","","","14.6"]
["","Protok zraka","Grijanje","Srednji","m³/min","","","","10.5"]
["","","Grijanje","Nizak","m³/min","","","","7.7"]
["","","","Tihi način rada","m³/min","","","","5.2"]
["Zvučna snaga","Hlađenje","","","dBA","","","","60"]
["Razina tlaka zvuka","Hlađenje","","Visoko","dBA","","","","45"]
["Razina zvučnog tlaka","Hlađenje","","Srednji","dBA","","","","37"]
["Razina tlaka zvuka","Hlađenje","","Nizak","dBA","","","","29"]
["","","","Tihi način rada","dBA","","","","21"]
["","Grijanje","","Visoko","dBA","","","","45"]
["Razina zvučnog tlaka","Grijanje","","Srednji","dBA","","","","37"]
["Razina tlaka zvuka","Grijanje","","Nizak","dBA","","","","29"]
["","","","Tihi način rada","dBA","","","","21"]
["Radna tvar","GWP","","","","","","","675.0"]
["Priključci cjevovoda","Tekućina","","VP","mm","","","","6.35"]
["","Plin","","VP","mm","","","","12.70"]
["","Odvod vode","","","","","","","18"]
["Upravljački sustavi","Infracrveno daljinsko upravljanje","","","","","","","ARC466A58"]
["","Žično daljinsko upravljanje","","","","","","","BRC073"]
["Standardna dodatna oprema","Installation manual","","","","","","","1"]
["","Screw cover","","","","","","","1"]
["","AAA dry-cell batteries","","","","","","","2"]
["","General safety precautions","","","","","","","1"]
["","Operation manual","","","","","","","1"]
["","Zračni filtar","","","","","","","2"]
["","Infrared remote control","","","","","","","1"]
["","Remote controller mounting plate","","","","","","","1"]
["","Screw bag","","","","","","","1"]
["Napajanje","Naziv","","","","","","","V1"]
["","Faza","","","","","","","1~"]
["","Frekvencija","","","Hz","","","","50"]
["","Napon","","","V","","","","220-240"]