{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":17,"n_cols":8,"rows_kept":17,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","SERHQ-AAW1"]
[]
[]
[]
[]
["","","","","SERHQ020AAW1+SERHQ020AAW1","SERHQ020AAW1","SERHQ032AAW1+SERHQ032AAW1","SERHQ032AAW1"]
["Kompresor","Tip","","","Hermetički zabrtvljen spiralni kompresor","","Hermetički zabrtvljen spiralni kompresor"]
["","Količina_","","","2","","3"]
["Težina","Jedinica","","kg","240.00","240.00","316.00"]
["Dimenzije","Jedinica","Širina","mm","930","930","1,240"]
["","","Dubina","mm","765","765","765"]
["","","Visina","mm","1,680","1,680","1,680"]
["Napomene","","","","(1) - 230 V","(1) - 230 V","(1) - 230 V","(1) - 230 V"]
["Dimenzije","Uređaj","Visina","mm","","","","1680"]
["","","Širina","mm","","","","1240"]
["","","Dubina","mm","","","","765"]
["Težina","Uređaj","","kg","","","","316.00"]